Headlands School

Local Procedures on Fire Safety

Identified persons responsibilities

Fire Marshall / Warden

(All identified staff via the staff training database)

Tasks

- Daily, weekly, monthly, checks etc.

- Routine evacuation tests and recordings.

- Responsible person for knowledge of evacuation plan and be the named person for any PEEP within area of responsibility.

- Report any fault, damage or hazard using a works request form. Copy is to be given directly to nominated manager below.

Risk Assessors

Gelert West					Jamie Hill

Administration 				Gracie Frankling

Zero waste shop 	                       	Robin Hackett

Music room/recording studio		Robin Hackett

Gym 						James Murphy

KS2						Claire Houghton

School (ground floor)			Mikala Peterson

School (middle floor)			Joseph Lucas

School (top floor)				Robin Hackett

Gelert East					Ceri Gulwell

Caretakers office and storage		Morgan Stephens

Post 16					John d’Claire

Café						Nicola Blyth

Uppercliff Dining				Nicola Blyth

Bike workshop				Joseph Lucas

Café 100					Robin Hackett

Radio Station				Robin Hackett

Garden maintenance container		John deClaire

Animal housing area			Dave Gillingham

Talgarth					Emma Coombes

Pentir						Gareth Hancock

Ty Canol					Emma Coombes

Tasks

- Regular monitoring of weekly / monthly / 3 monthly checks

- Forward works requests via e-mail to maintenanceheadlands@actionforchildren.org.uk

follow up works and escalate if not carried out in appropriate time scales

- Record any significant findings in the Fire Risk Assessment action plan.

- Responsible for reviewing annual Fire Risk Assessment report and following up actions

- Ensure any individual PEEP is up to date and shared with all staff.

- Establish an evacuation plan with specific dates and monitor drills to identify actions to reduce identified risks.

- Keep accurate floor plans ensuring these are up to date, to include emergency lighting location and location of emergency equipment.

- Keep up to date training records – All staff to undertake annual Fire Safety Awareness on-line training.  Each building to have at least one nominated Fire Warden who has undertaken on-line training.

Managers

Matthew Burns – Principal

Joseph Osbaldeston - Vice Principal Education

Maxine Cahill – Vice Principal Care

Claire Kalemi – Business and Facilities Manager

Tasks

- Check the evacuation plan is relevant.

- Have any actions regarding fire safety been completed?

- Have the evacuation plans been practiced?

- Identify training needs according to staff specific roles and responsibilities.

- Ensure induction process both for staff and young people include comprehensive fire safety awareness according to individual needs.

Overall monitoring every building’s risk assessment.

Maintenance Supervisor

(Morgan Stephens)

Tasks

Action all works requests and monitor completion.  Take appropriate action if timescales are not met.

Responsible Person

(Principal)

Matthew Burns

Tasks

- Ultimate responsibility for fire safety audits at all building sites at Headlands School.

External Contractor’s responsibilities

Alarm system testing					6 monthly checks

Fire fighting equipment i.e. fire blanket, extinguishers	Annual checks

Emergency lighting testing 				Monthly checks

Electrical hardwire testing  					5 year check

Water 								Monthly check

Gas appliances i.e. boiler  					Annual check

P.A.T testing  						Annual check

Compliance checks monitored by Morgan Stephens

Headlands Health and Safety Team

Tasks:

- Monitor/evaluate action plans once a term

- Ask the question “Are there young people/staff who need PEEPs?”

- Once a term review outstanding works

- Support Action Plans

- Review Policy

- Decision making around learning and development

This local policy conforms to the Independent School Standards Wales Regulations 2003:

Section 3(5)

Policy written by: 	Health & Safety Team

Date:			March 2024

Review Date: 	March 2025